## BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: Invitation to Bid No.
BILL OF QUANTITIES
Item No. | Work Description | Materials |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost | Cost per Unit of Work Item
|  | Quantity | Unit | Quantity | Unit | Materials, Labor, and Equipment | Overhead, Contingencies, Miscellaneous, & Profit
(1) | (2) |  |  | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | (3): 1; (4): lot
1.2 | Construction Occupational Safety & Health (New Normal) |  |  | (3): 1; (4): lot
1.3 | Temporary Facilities, Billboard, and Barricade |  |  | (3): 1; (4): lot
1.4 | Bonds,Testings, Permits, and Clearances |  |  | (3): 1; (4): lot
Sub-Total
2 | Demolition, Hauling, Disposal and Repair Works
2.1 | Demoliton/Removal of Existing Affected Areas (trees, CHB walls, concrete slabs, steel pipes, electrical & plumbing wires, pipes & fixtures, tiles & floor finishes, ceiling boards, roof, c-purlins, door & jamb, window, scraping of old paint etc.) |  |  | (3): 1; (4): lot
2.2 | Disposal/Hauling of Debris and Scrap Materials from affected areas |  |  | (3): 1; (4): lot
2.3 | Repair of Existing Walls, Concrete Gutter and all affected/damaged areas |  |  | (3): 1; (4): lot
2.4 | Termite Control |  |  | (3): 1; (4): lot
Sub-Total
3 | Structural Works
3.1 | Column Footing |  |  | (3): 5.7; (4): m³
3.2 | Wall Footing |  |  | (3): 4.4; (4): m³
3.3 | Grade Beam and Tie Beam |  |  | (3): 5.56; (4): m³
3.4 | Slab on Grade, Zocalo, Ramp, Plantbox and Stairs |  |  | (3): 31.47; (4): m³
3.5 | Column |  |  | (3): 11.4114; (4): m³
3.6 | Roof Beam |  |  | (3): 4.433; (4): m³
3.7 | Logo Monolith Structural |  |  | (3): 2.4387; (4): m³
3.8 | Steel Trusses & Portal Beams |  |  | (3): 1; (4): lot
3.8.1 | 1 1/2" x 1 1/2" x 5.0 mm thick Angle Bar | 405.262 | m
3.8.2 | 1 1/4" x 1 1/4" x 3.5 mm thick Angle Bar | 424.336 | m
3.8.3 | 2" x 4" x 1.5 mm thick G.I. C- Purlins | 822.36 | m
3.8.4 | 10 mm Φ x 6 m DSB Grade 40 (Sag Rod with nuts and washer) | 128.02 | kg
3.8.5 | Epoxy Primer Paint for Steel Truss and Purlins (repaint of existing Steel Truss are included) | 1 | lot
3.8.6 | Consumables (Welding Rods, etc.) | 1 | lot
Sub-Total
4 | Architectural Works
4.1 | Masonry Works
4.1.1. | 4" CHB Wall (including mortar and 10 mm steel reinforcement every three CHB layer and 0.60 m horizontal spacing) |  |  | (3): 858.957; (4): m²
4.1.2. | 5" CHB Wall (including mortar and 10 mm steel reinforcement every three CHB layer and 0.60 m horizontal spacing) |  |  | (3): 21.9725; (4): m²
4.1.3. | Smooth Cement Plastering Exterior Wall, Interior Wall, Beams, Columns etc. |  |  | (3): 1761.859; (4): m²
Sub-Total
4.2 | Roofing Works
4.2.1. | 0.50 mm thick Prepainted Rib Type Roofing |  |  | (3): 1; (4): lot
4.2.2. | 0.50 mm thick Prepainted Roof Flashing and Sheet Gutter |  |  | (3): 1; (4): lot
4.2.3. | 10 mm thick Aluminum Fim Laminated Foam Two Sided w/ 12.5 mm welded wire #21 and Down Spout Strainer including consumables (tekscrew, blind rivets, sealant etc.) |  |  | (3): 1; (4): lot
Sub-Total
4.3 | Parapet Cladding and Gutter
4.3.1. | 4 mm thick Aluminum Composite Panel (Light-gray) |  |  | (3): 1; (4): lot
4.3.2. | Steel Framing including epoxy primer painting and consumables (welding rods, cutting disc, etc.) |  |  | (3): 1; (4): lot
4.3.3. | Water Proofing for Concrete Gutter |  |  | (3): 1; (4): lot
Sub-Total
4.4 | Logo and Monolith
4.4.1. | 0.70 m Ø Stainless Steel with TSU Logo and " TSU AMPHITHEATER " Lettering |  |  | (3): 1; (4): lot
4.4.2. | 4 mm thick Aluminum Composite Panel (Teracotta and Light-gray) |  |  | (3): 1; (4): lot
4.4.3. | 2 mm thick Galvanized Perforated Metal Round Hole Staggered Sheet |  |  | (3): 1; (4): lot
4.4.4. | Steel Framing including epoxy primer painting and consumables (welding rods, cutting disc, etc.) |  |  | (3): 1; (4): lot
Sub-Total
4.5 | Façade Cladding
4.5.1. | 4 mm thick Aluminum Composite Panel (Teracotta and Light-gray) |  |  | (3): 1; (4): lot
4.5.2. | 2 mm thick Galvanized Perforated Metal Round Hole Staggered Sheet |  |  | (3): 1; (4): lot
4.5.3. | Pre-painted Plain Sheet Flashing (Light Gray) |  |  | (3): 1; (4): lot
4.5.4. | Steel Framing including epoxy primer painting and consumables (welding rods, cutting disc, etc.) |  |  | (3): 1; (4): lot
4.5.10 | Consumable Hardwares (Welding Rods,Tekscrew,Blind Rivets,Sealant, etc.)
Sub-Total
4.6 | Ceiling
4.6.1. | 12 mm thick Perforated Gypsum Board Ceiling System |  |  | (3): 85.635; (4): m²
4.6.2. | 12 mm thick Gypsum Board Ceiling System |  |  | (3): 170.038; (4): m²
4.6.3. | 4.5 mm thick Fiber Cement Board Ceiling System |  |  | (3): 25.85; (4): m²
4.6.4. | 8 mm thick PVC Ceiling Panel Ceiling System |  |  | (3): 27.61; (4): m²
4.6.5. | 0.5 mm thick Pre-Painted Wood Texture Spandrel including air ventilation holes and mouldings Ceiling System |  |  | (3): 64.176; (4): m²
Sub-Total
4.7 | Painting
4.7.1. | Semi-Gloss Latex Paint Finish on Walls, Columns, Beams, Zocalo etc. |  |  | (3): 1513.66; (4): m²
4.7.2. | Flat Latex Paint Finish on Ceiling |  |  | (3): 281.523; (4): m²
Sub-Total
4.8 | Floor Finish
4.8.1. | 200 mm x 1200 mm Glazed Ceramic Floor Tiles including adhesive, grout and topping |  |  | (3): 84.59; (4): m²
4.8.2. | 200 mm x 1200 mm x 3 mm thick Vinyl Tile including adhesive |  |  | (3): 186.648; (4): m²
4.8.3. | 600 mm x 600 mm Non-skid Ceramic Tiles including adhesive, grout and topping |  |  | (3): 34.012; (4): m²
Sub-Total
4.9 | Wall and Countertop Finish
4.9.1. | 300 mm x 600 mm Decorative Border Wall Tiles including adhesive, grout and topping |  |  | (3): 7.755; (4): m²
4.9.2. | 300 mm x 600 mm White Ceramic Wall Tiles including adhesive, grout and topping |  |  | (3): 38.775; (4): m²
4.9.3. | Araal Slate Decorative Stone including adhesive, grout and topping |  |  | (3): 61.3668; (4): m²
4.9.4. | Acoustic Wall System |  |  | (3): 101.288; (4): m²
4.9.5. | ¾” thick Black Blue Emerald solid granite Countertop (Male and Female Comfort Room) |  |  | (3): 1; (4): lot
Sub-Total
4.10. | Stair & Ramp Finish and PWD Ramp & CR Railings |  |  | (3): 1; (4): lot
4.10.1 | Black Rubber Stair Nosing including consumables | 141 | m
4.10.2 | #10 Pebble Washout including Groove for Ramp | 31.8791 | m²
4.10.3 | 2" ø x 1.2 mm thick S304 Stainless Pipe | 54.725 | m
#REF! | Consumable Hardwares | 1 | lot
4.11. | Doors and Partitions
4.11.1. | D1- 12 mm thick tempered glass with frosted decals double panel swing frameless double glass door |  |  | (3): 1; (4): set
4.11.2. | D2- 12 mm thick tempered glass with frosted decals double panel swing frameless double glass door with transom window |  |  | (3): 2; (4): set
4.11.3. | D3- single swing mahogany wooden solid panel door |  |  | (3): 1; (4): set
4.11.4. | D4- single swing tanguile wooden solid panel door |  |  | (3): 4; (4): set
4.11.5. | D5- single swing tanguile wooden semi-solid panel door |  |  | (3): 4; (4): set
4.11.6. | Compact Laminated Cubicle Partition w/ Door (D6) and complete accessories |  |  | (3): 5; (4): set
4.11.7. | D7- single swing tanguile wooden solid panel door |  |  | (3): 1; (4): set
4.11.8. | D8- single swing tanguile wooden semi-solid panel door |  |  | (3): 1; (4): set
Sub-Total
4.12. | Windows
4.12.1. | W1-white powder coated aluminum fixed window with one way reflective (exterior) 12 mm thick tempered reflective bronze glass |  |  | (3): 2; (4): set
4.12.2. | W2- white powder coated aluminum awning window with one way reflective (exterior) 6mm thick reflective bronze glass |  |  | (3): 1; (4): set
4.12.3 | W3- white powder coated aluminum awning window with one way reflective (exterior) 6 mm thick reflective bronze glass |  |  | (3): 2; (4): set
4.12.4. | W4 -white powder coated aluminum awning window with one way reflective (exterior) 6 mm thick reflective bronze glass |  |  | (3): 5; (4): set
4.12.5. | W5 -white powder coated aluminum awning window with one way reflective (exterior) 6mm thick reflective bronze glass |  |  | (3): 3; (4): set
4.12.6. | W6 -white powder coated aluminum awning window with one way reflective (exterior) 6 mm thick reflective bronze glass |  |  | (3): 1; (4): set
4.12.7. | W7 -white powder coated aluminum fixed corner window with one way reflective (exterior) 6 mm thick reflective bronze glass |  |  | (3): 1; (4): set
Sub-Total
4.13. | Landscaping Works |  |  | (3): 1; (4): lot
4.13.1 | 16"Ø Eugenia Ball Topiary Plants | 100 | pcs
4.13.2 | 1.2m Height Eugenia Plants | 3 | pcs
4.13.3 | Green Lawn Grass with Garden Soil | 118.118 | m²
4.13.4 | Consumables (Fertilizers etc.) | 1 | lot
5 | Electrical Works
5.1 | Lighting System |  |  | (3): 1; (4): lot
5.1.1. | 20 Watts Recessed COB LED Square Downlight [Color: Nature White] | 48 | set
5.1.2. | 12 Watts Recessed Mounted LED Panel Square Downlight [Color: Daylight] | 12 | set
5.1.3. | 12 Watts Recessed Mounted LED Panel Square Downlight [Color: Warm White] | 20 | set
5.1.4. | 6" E27 Cylindrical Downlight with 18 W LED Bulb [Color: Warm White] | 26 | set
5.1.5. | 3 Watts Recessed LED Emergency Light [Ceiling Mounted] | 19 | set
5.1.6. | 1 Meter Outdoor Neon LED Striplight with Driver and Recessed Mounted Aluminum Profile with Cover [Color: Ice Blue] | 30 | set
5.1.7. | 3 Meters Outdoor Neon LED Striplight with Driver [Color: Warm White] | 12 | set
5.1.8. | 10 Meters Outdoor Neon LED Striplight with Driver [Color: Warm White] | 5 | set
5.1.9. | 1 meter Track Rail with 4 pcs of 10 Watts Track Lights [Color: Daylight] | 2 | set
5.1.10. | 1 Gang Switch Wide Series with LED | 11 | pc
5.1.11. | 2 Gang Switch Wide Series with LED | 6 | pc
5.1.12. | 3 Gang Switch Wide Series with LED | 2 | pc
5.1.13. | 1/2" Ø PVC | 146 | pc
5.1.14. | 1/2" Ø PVC Flexible Conduit | 3 | roll
5.1.15. | 1/2" Ø Mica Tube (60 meters per roll) | 2 | roll
5.1.16. | 3.5 mm² Cu. THHN/THWN (STR) | 11 | box
5.1.17. | 2" x 4" PVC Utility Box | 30 | pc
5.1.18. | 4" x 4" PVC Junction Box with Cover | 200 | pc
5.1.19. | Consumables Hardwares | 1 | lot
5.2 | Power System |  |  | (3): 1; (4): lot
5.2.1. | Universal Duplex Convenience Outlet | 28 | pc
5.2.2. | 1/2" Ø PVC | 65 | pc
5.2.3. | 3.5 mm² Cu. THHN/THWN (STR) | 4 | box
5.2.4. | 2" x 4" PVC Utility Box | 30 | pc
5.2.5. | Consumables Hardwares | 1 | lot
5.3 | Air-conditioning System |  |  | (3): 1; (4): lot
5.3.1. | 40 AT 2P MCCB in NEMA-3R Enclosure with Mechanical Lugs | 6 | set
5.3.2. | 30 AT 2P MCCB in NEMA-3R Enclosure with Mechanical Lugs | 2 | set
5.3.3. | 3/4" Ø PVC | 30 | pc
5.3.4. | 1/2" Ø PVC | 24 | pc
5.3.5. | 8.0 mm² Cu. THHN/THWN (STR) | 3 | box
5.3.6. | 5.5 mm² Cu. THHN/THWN (STR) | 2 | box
5.3.7. | 3.5 mm² Cu. THHN/THWN (STR) | 1 | box
5.3.8. | Consumables Hardwares | 1 | lot
5.4 | Structured Cabling System |  |  | (3): 1; (4): lot
5.4.1. | 3/4" Ø PVC | 20 | pc
5.4.2. | Blank Cover Plate for Utility Box | 7 | pc
5.4.3. | 2" x 4" PVC Utility Box | 10 | pc
5.4.4. | 5" x 5" PVC Square Box with Cover | 5 | pc
5.4.5. | #16 GI Tie Wire | 3 | kg
5.4.6. | Consumables Hardwares | 1 | lot
5.5 | Speaker System |  |  | (3): 1; (4): lot
5.5.1. | 1" Ø PVC | 6 | pc
5.5.2. | 3/4" Ø PVC | 15 | pc
5.5.3. | Blank Cover Plate for Utility Box | 15 | pc
5.5.4. | 2" x 4" PVC Utility Box | 15 | pc
5.5.5. | #16 GI Tie Wire | 3 | kg
5.5.6. | Consumables Hardwares | 1 | lot
5.6 | Closed-Circuit Television System |  |  | (3): 1; (4): lot
5.6.1. | 3/4" Ø PVC | 22 | pc
5.6.2. | 2"x 4" PVC Utility Box | 10 | pc
5.6.3. | 4" x 4" PVC Junction Box with Cover | 10 | pc
5.6.4. | 5" x 5" PVC Square Box with Cover | 3 | pc
5.6.5. | #16 GI Tie Wire | 3 | kg
5.6.6. | Consumables Hardwares | 1 | lot
5.7 | Fire Detection and Alarm System |  |  | (3): 1; (4): lot
5.7.1. | 4 -Zone Conventional Fire Alarm Control Panel | 1 | pc
5.7.2. | Conventional Smoke Detector | 18 | pc
5.7.3. | Conventional Resettable Manual Pull Station | 5 | pc
5.7.4. | Conventional 6" Fire Alarm Bell | 5 | pc
5.7.5. | Red Flash Light | 5 | pc
5.7.6. | 1.25 mm² TF Wire (STR & Twisted Two-conductor) | 1 | box
5.7.7. | 1/2" Ø PVC | 48 | pc
5.7.8. | 2"x 4" PVC Utility Box | 5 | set
5.7.9. | 4" x 4" PVC Junction Box with Cover | 30 | set
5.7.10. | Consumables Hardwares | 1 | lot
5.8 | Panel Board |  |  | (3): 1; (4): lot
5.8.1. | Warehouse MDP (Bolt-on) Main: 150 AT 2P MCCB Branch: 6-40 AT 2P MCB, 2-30AT 2P MCB, 8-20 AT 2P MCB Space: 2 With Busbars and Terminal Lugs Nema-1 Enclosure | 1 | set
5.8.2. | ECB (Bolt-on): 150AT 2P MCCB With Busbars and Terminal Lugs Nema-4X Enclosure | 1 | set
5.8.3. | 500 mm x 300 mm Nema-1 Auxiliary Gutter | 1 | set
5.9 | Main Feeder Line System |  |  | (3): 1; (4): lot
5.9.1. | 60 mm² Cu. THHN/THWN (STR) | 80 | m
5.9.2. | 22 mm² Cu. THHN/THWN (STR) | 5 | m
5.9.3. | 2" Ø RSC | 1 | pc
5.9.4. | 2" Ø PVC | 12 | pc
5.9.5. | 1" Ø PVC | 12 | pc
5.9.6. | Electrical Service Entrace Concrete Pedestal | 1 | lot
5.9.7. | Concrete Encasement | 1 | lot
5.9.8. | Excavation and backfilling | 1 | lot
5.9.9. | 2" Ø Service Entrance Cap | 1 | pc
5.9.10. | 1" Ø Service Entrance Cap | 1 | pc
5.9.11. | Three-Spool Secondary Rack | 1 | set
5.9.12. | Ground Rod with solderless connector | 1 | set
5.9.13. | 5" x 5" PVC Square Box with Cover | 2 | set
5.9.14. | Consumables Hardwares | 1 | lot
5.1 | Exhaust Fan, 10", Ceiling Mounted |  |  | (3): 5; (4): set
Sub-Total
6 | Plumbing Works
6.1 | Sanitary Pipes System |  |  | (3): 1; (4): lot
6.2 | Stormdrain and Indirect Waste Pipes System |  |  | (3): 1; (4): lot
6.3 | Water Distribution Supply System |  |  | (3): 1; (4): lot
6.4 | Septic Tanks |  |  | (3): 1; (4): lot
6.5 | Plumbing Fixtures |  |  | (3): 1; (4): lot
6.5.1. | Wall Mounted Wash Basin | 2 | set
6.5.2. | Rectangular Vessel Wash Basin | 2 | set
6.5.3. | Water Closet with Heavy-duty S304 Bidet Faucet | 6 | set
6.5.4. | Wall Hung Urinal | 2 | set
6.5.5. | 6" x 6" S304 Floor Drain | 5 | pc
6.5.6. | Heavy-duty S304 Hosebibb with Thread | 2 | set
6.5.7. | Consumables (teflon tape, diamond cutting disc, etc.) | 1 | lot
Sub-Total
7 | Furnishings
7.1 | 1.0 m x 0.60 m x 6.0 mm Beveled Edge Lead Free Mirror |  |  | (3): 4; (4): set
7.2 | Heavy Duty Stainless S304 Tissue Holder | bar: (3) to (4)
7.3 | 100 mm x 200 mm x 5 mm thick Stainless Dressing Room and Rest Room Signages (Men and Women) |  |  | (3): 4; (4): set
7.4 | 210 mm x 180 mm x 5 mm thick high-grade aluminum alloy frame toilet signage (All Gender PWD Restroom) |  |  | (3): 1; (4): set
7.5 | 250 mm x 400 mm Fire Exit Signages (Glow in the Dark) |  |  | (3): 2; (4): set
7.6 | 200 mm x 300 mm Entrance/Exit Signages (Glow in the Dark) |  |  | (3): 4; (4): set
7.7 | Ergodynamic Theater Chair (Interconnected/ Sharing) including accessories and consumables |  |  | (3): 100; (4): set
Sub-Total
| Total Bid Price | [In Words] |  | (9): [In Figures]
[Signature]
[Name of Authorized Signatory]
[Position/Title]